## Slide 1: Status of scintillator KLM study
P. Pakhlov (ITEP)

## Slide 2: Scintillator KLM end cap detector
RPC frame
Key issues: reliability, radiation hardness
Scintillator detector with WLS fiber readout is a well established technique for particle detection: stable; fast; radiation hard; cheap
  Drawback: it is more sensititive to neutrons due to hydrogen.
  Tests in the KEKB tunnel demonstrated that neutron bg rate
  at scintilator is 5-7 times larger than at RPC. Independent
  x-y operation and good time resolution
  (coincidence gate can be as small as 10ns) allow to
  suppress bg even higher than RPC
  Photosensor (one per strip) = Si photo diode in Geiger mode (SiPM):
  fast, efficienct to green light, high gain,
  compact, operable in B-fields,
  relatively cheap

## Slide 3: SiPM radiation hardness sufficient for sBelle?
Neutron irradiation results in defects in the sensitive region. Defects are sources for extra noise.
Large number of independent pixels + short recovery time allow to keep the signal efficiency high even with the 1 p.e. noise rate ~ few tens MHz.
The expected neutron flux around the proposed SiPM position at SuperB is 1010 n/cm2 (measured by luxel dosimeters and independently calculated from ECL’s APD damage)
Many groups (ITEP, Calice, T2K, etc) measured the radiation damage effect
noise
10 pe signal
noise after 1010 n/cm2 irradiation
toy MC
t, nsec
t, nsec
t, nsec
Initial 1 p.e. noise:
0.5 MHz – MPPC (Hamamatsu)
1.5 MHz – MRSAPD (CPTA)
1 p.e. noise after irradiation with 1010 n/cm2:
7 MHz – MPPC (Hamamatsu)
12 MHz – MRSAPD (CPTA)
The signal efficiency should be unchanged after 5 years of SuperBelle operation at 2 * 1035 or even 5 * 1035
However, the neutron spectrum at Belle/sBelle is unknown + conversion dose  neutron flux is not reliable. Direct measurement of the damage in the real conditions is required

## Slide 4: SiPM radiation hardness tests in the KEKB tunnel
Both MRSAPD and MPPC are ok for SuperB
Both Russian MRSAPD and Hamamtsu MPPC have been exposed in KEKB tunnel near beam during 50 days (> 1Sv = ⅓ of the 5 year SuperB dose):
one photoelectron noise increased – seen in the random trigger data.
Pedestal and p.e. peaks are smeared – seen in the LED data.
But the signal from MIP (~ 25p.e. ) is not changed.
MIP trigger
6 p.e. threshold
before irradiaiton
after irradiaiton
random trigger
LED trigger
MPPC
The measured neutron dose at the proposed SiPM position now (L=1.4×1034) ~ 1mSv/week  15mSv/week at SuperB (L=2×1035)  3Sv/5 years
The similar MIP efficiency immunity to
neutron damage is seen with MRSAPD (CPTA), however the pe peaks are poorly resolved (due to longer recovery time)

## Slide 5: Callibration and monitoring after irradiation
Unlike our previous statement that amplitude measurement are not necessary for scKLM, we now believe that this is one of important point to keep stable operation
Amplitude  Np.e. conversion requires callibration and monitoring of 1 p.e gain. This is useful for HV and threshold ajustment during the whole running period.
Internal noise + physics backgrounds can be used for on-line SiPM callibration (or during local run). It is sufficient to measure noise/bg rate vs threshold: The distance between plateus corresponds to 1 p.e. (red line)
threshold
rate
log scale
After few years of running due to increased noise the amplitude is smeared by overlapped noise pulses: difficult to see plateus in rate vs threshold distribution (blue line). Loose possibilities of callibration?
The correction on overlapping possible using Gary’s read out electronics: 1GHz ADC measurement + FPGA to fit ~10 points
1 pe

## Slide 6
cv
10
40
D1.2
Strips from two producers are tested and compared in ITEP
Fermilab (USA)
(used in T2K near detector)
10
40
D1.2
mirror
The same outer strip geometry,
but different geometry of groove
We are now not able to provide comparison of the scintillator plastic quality for Kharkov – Fermilab strips. This should be done by TDR (September 09).
(in any case, both are ok for SuperB: sufficient light collection from the 3-meter far end)
The central groove (Fermilab) is slightly more preferable (~10% better light collection); glueing is easier
Kharkov can not produce central groove. However, if the fiber glueing is done in ITEP, transportation/tax is too costly from Fermilab.
TEST of the groove geometry:
Kharkov (Ukraine)
(used in OPERA)

## Slide 7: Summary = to do list for TDR
Comparison of design with MRSAPD (CPTA) & MPPC (Hamamtsu)
  Both are ok, however application of either requires to solve some technical problems.
  Elaborate details of using for both: mounting, HV supply, control and callibration, maintanance, cost.
  Compare and find optimal solution.
Comparison of design with Kharkov and Fermilab scintillator strips
  Both are ok.
  Need to compare scintillator quality first end elaborate the manufacuring (fiber glueing) procedure.
  Compare resulting quality and cost to find optimal solution.
Full Geant MC study (standalone MC for KLM encap is done already) to confirm/study physics performance.
Electronics:
  Gary’s electronics seems to be optimal for our purposes. The features that seemed to be excessive are very welcomed now.
  Need to check that it is possible to work without preamplifier
  Ajustable HV supply still need to be elaborated